# OUTPUT PARAMETER LIST

NCAR C-130

(ICE-T)

Heymsfield et al

RAF Reference Parameters

Reference Ambient Temperature (C) - ATX

Reference Total Temperature (C) - TTX

Reference Ambient Static Pressure (mb) - PSXC

Reference Dew Point Temperature (C) - DPXC

Reference Corrected Dynamic Pressure (mb) - QCXC

Reference Raw Dynamic Pressure (mb) - QCX

Reference True Air Speed (m/s) - TASX

GPS Corrected Inertial Latitude (deg) - LATC

GPS Corrected Inertial Longitude (deg) - LONC

GPS Corrected Horizontal Wind Speed (m/s) - WSC

GPS Corrected Horizontal Wind Direction (deg) - WDC

GPS Corrected Wind Vector, East Component (m/s) - UIC

GPS Corrected Wind Vector, North Component (m/s) - VIC

GPS Corrected Wind Vector, Longitudinal Component (m/s) - UXC

GPS Corrected Wind Vector, Latitudinal Component (m/s) - VYC

GPS Corrected Wind Vector, Vertical Gust Component (m/s) - WIC

GPS Corrected IRS Ground Speed Vector, East Comp, (m/s) - VEWC

GPS Corrected IRS Ground Speed Vector, North Comp, (m/s) - VNSC

RAF Standard Parameters

GPS Latitude (deg) - GGLAT

GPS Longitude (deg) - GGLON

Corrected Static Pressure (digital) Fuselage (mb) - PSFDC

Corrected Static Pressure (digital) Fuselage (mb) - PSFC

Cabin Pressure (mb) - PCAB

Ambient Temperature: Radome Left Side(C) - ATRL

Ambient Temperature: HARCO Heated, Fuselage (C) - ATHR1

Ambient Temperature: HARCO Heated, Fuselage (C) - ATHR2

Ambient Temperature: OPHIR Radiometric (C) - OAT

Corrected Dew Point Temperature, Top Fuselage (C) - DPTC

Corrected Dew Point Temperature, Bot Fuselage (C) - DPBC

Corrected Dew Point Temperature, Fast Hygrometer (C) - DPUV

GPS Altitude : MSL (m) - GGALT

Pressure Altitude : MSL (m) - PALT

Pressure Altitude : MSL (ft) - PALTF

Radar Altitude : AGL (m) - HGM232

Potential Temperature (K) - THETA

Equivalent Potential Temperature (K) - THETAE

Absolute Humidity, Top (g/m3) - RHODT

Raw Absolute Humidity, Fast Hygrometer (g/m3) - RHOUV

Relative Humidity, Reference (%) - RHUM

Mixing Ratio, Reference (g/kg) - MR

Saturation Vapor Pressure, Chilled Mirror (mb) - EDPC

Parameter List - 2 (Cont.)

Mixing Ratio, Fast Hygrometer (g/kg) - MRUV

Saturation Vapor Pressure, Fast Hygrometer (mb) - EDPUV

Radiometric Surface Temperature-1: Ref (C) - RSTB

Radiometric Surface Temperature-2: Raw (C) - RSTB1

Radiometric Sky Temperature (C) - RSTT

Altitude Corrected Surface Temperature (C) - TSURF

TSI CN Particle Concentration (n/cm3) - CONCN

Sampling Size Range: 0.01 to 3 um

PCASP/200 Aerosol Particle Concentration (n/cm3) - CONCP_RWO

Sampling Size Range: 0.12 to 3.12 um

FSSP/300 Aerosol Particle Concentration (n/cm3) - CONC3_LPO

Sampling Size Range: 0.3 to 20 um

FSSP/100 Cloud Particle Concentration (n/cm3) - CONCF_LWO

Sampling Size Range: 3 to 45 um

CDP Cloud Particle Concentration (n/cm3) - CONCD_LWI

Sampling Size Range: 3 to 50 um

2D-C(25) Cloud Droplet Concentration (n/l) - CONC2C_LPC

Sampling Size Range: 25 to 800 um

2D-P Cloud Droplet Concentration (n/l) - CONC2P_RPO

Sampling Size Range: 200 to 6400 um

PCASP/200 Mean Particle Diameter (um) - DBARP_RWO

FSSP/300 Mean Particle Diameter (um) - DBAR3_LPO

FSSP/100 Mean Particle Diameter (um) - DBARF_LWO

CDP Mean Particle Diameter (um) - DBARD_LWI

2D-C 1-D Mean Particle Diameter (um) - DBAR1DC_LPO

2D-P 1-D Mean Particle Diameter (um) - DBAR1DP_RPO

King Probe Liquid Water Content (g/M3) - PLWCC

FSSP/100 Water/Ice Content (g/m3) - PLWCF_LWO

CDP Water/Ice Content (g/m3) - PLWCD_LWI

2D-C 1-D Equivalent Liquid Water Content (g/m3) - PLWC1DC_LPO

2D-P 1-D Equivalent Liquid Water Content (g/m3) - PLWC1DP_RPO

Raw IRS Latitude (deg) - LAT

Raw IRS Longitude (deg) - LON

Aircraft True Heading (deg) - THDG

Aircraft Roll Attitude Angle (deg) - ROLL

Aircraft Pitch Attitude Angle (deg) - PITCH

Aircraft IRS Vertical Velocity (m/s) - VSPD

IRS Ground Speed (m/s) - GSF

IRS Ground Speed Vector, East Comp (m/s) - VEW

IRS Ground Speed Vector, North Comp (m/s) - VNS

GPS Ground Speed Vector, East Comp (m/s) - GGVEW

GPS Ground Speed Vector, North Comp (m/s) - GGVNS

GPS Ground Speed (m/s) - GGSPD

Parameter List - 3 (Cont.)

Aircraft True Airspeed, Fuselage (m/s) - TASF

Aircraft True Airspeed, Radome (m/s) - TASR

Aircraft True Airspeed, Humidity Corrected (m/s) - TASHC

Corrected Dynamic Pressure, Left Fuselage (mb) - QCFC

Corrected Dynamic Pressure, Radome (mb) - QCRC

Corrected Dynamic Pressure, Right Fuselage (mb) - QCFRC

Raw Dynamic Pressure, Radome (mb) - QCR

Raw Dynamic Pressure, Left Fuselage (mb) - QCF

Raw Dynamic Pressure, Left Fuselage (mb) - QCFR

Attack Angle, Radome Diff. Pressure (deg) - AKRD

Sideslip Angle, Radome Diff. Pressure (deg) - SSRD

Vertical Differential Pressure, Radome (mb) - ADIFR

Horizontal Differential Pressure, Radome (mb) - BDIFR

Raw Static Pressure, (digital) Fuselage (mb) - PSFD

Raw Static Pressure, (digital) Fuselage (mb) - PSFRD

Total Temperature: Radome Left (C) - TTRL

Total Temperature: HARCO Heated, Fuselage (C) - TTHR1

Total Temperature: HARCO Heated, Fuselage (C) - TTHR2

Raw Dew Point Temperature, Fuselage Top (C) - DPT

Raw Dew Point Temperature, Fuselage Bot (C) - DPB

Raw King Probe Liquid Water Content (watts) - PLWC

Icing Rate (Vdc) - RICE

TSI 3760 CN Counter Output (N) - CNTS

TSI 3760 CN Counter Flow: Raw (slpm) - FCN

TSI 3760 CN Counter Sampling Pressure (mb) - PCN

TSI 3760 CN Counter Sampling Temperature (C) - CNTEMP

TSI 3760 CN Counter Corrected Flow (slpm) - FCNC

Specialty Parameters

RAF Fast Humidity Signal (Vdc)- XUVI

RAF Fast Humidity Sample Pressure (hPa) - XUVP

RAF Fast Humidity Sample Temperature (C) - XUVT

RAF Carbon Monoxide Concentration (ppb) - CO_PIC

RAF Carbon Dioxide Concentration (ppb) - CO2_PIC

RAF Methane Concentration (ppb) - CH4_PIC

RAF Fast Ozone Concentration (ppb) - FO3_ACD

Wyoming Inlet Sample Flow Rate (slpm) - INFLOW

Wyoming Inlet Tip Temperature (C) - XWYOT

Giant Nuclei Impactor Slide Exposure Monitor (Vdc) - GNI1

CVI UHSAS Residual Particle Concentration (#/cm3) - CONCUD

CVI UHSAS Residual Mean Particle Diameter (um) - DBARU_CVIU