# OUTPUT PARAMETER LIST

NCAR C-130 - Project #8-XXX

(VOCALS)

Wood et al

RAF Reference Parameters

Reference Altitude (m - MSL) - ALTX

Reference Ambient Temperature (C) - ATX

Reference Total Temperature (C) - TTX

Reference Ambient Static Pressure (mb) - PSXC

Reference Dew Point Temperature (C) - DPXC

Reference Corrected Dynamic Pressure (mb) - QCXC

Reference Raw Dynamic Pressure (mb) - QCX

Reference True Air Speed (m/s) - TASX

Reference Liquid Water Content (g/M3) - PLWCC1

GPS Corrected Inertial Latitude (deg) - LATC

GPS Corrected Inertial Longitude (deg) - LONC

GPS Corrected Horizontal Wind Speed (m/s) - WSC

GPS Corrected Horizontal Wind Direction (deg) - WDC

GPS Corrected Wind Vector, East Component (m/s) - UIC

GPS Corrected Wind Vector, North Component (m/s) - VIC

GPS Corrected Wind Vector, Longitudinal Component (m/s) - UXC

GPS Corrected Wind Vector, Latitudinal Component (m/s) - VYC

GPS Corrected Wind Vector, Vertical Gust Component (m/s) - WIC

GPS Corrected IRS Ground Speed Vector, East Comp, (m/s) - VEWC

GPS Corrected IRS Ground Speed Vector, North Comp, (m/s) - VNSC

RAF Standard Parameters

GPS Latitude (deg) - GGLAT

GPS Longitude (deg) - GGLON

Corrected Static Pressure (digital) Fuselage (mb) - PSFDC

Cabin Pressure (mb) - PCAB

Ambient Temperature, Radome Right Side(C) - ATRR

Ambient Temperature: Radome Left Side(C) - ATRL

Ambient Temperature: Heated, Wing (C) - ATWH

Ambient Temperature: OPHIR Radiometric (C) - OAT

Corrected Dew Point Temperature, Top Fuselage (C) - DPTC

Corrected Dew Point Temperature, Bot Fuselage (C) - DPBC

Corrected Dew Point Temperature, Fast Hygrometer (C) - DPLA

Inertial Horizontal Wind Speed, Radome (m/s) - WS

Inertial Horizontal Wind Direction, Radome (deg) - WD

Inertial Wind Vector, Radome East Component (m/s) - UI

Inertial Wind Vector, Radome North Component (m/s) - VI

Inertial Wind Vector, Radome Longitudinal Component (m/s) - UX

Inertial Wind Vector, Radome Latitudinal Component (m/s) - VY

Inertial Wind Vector, Radome Vertical Gust Component (m/s) - WI

GPS Altitude : MSL (m) - GGALT

Pressure Altitude : MSL (m) - PALT

Pressure Altitude : MSL (ft) - PALTF

Radar Altitude : AGL (m) - HGM232

Parameter List - 2 (Cont.)

Potential Temperature (K) - THETA

Equivalent Potential Temperature (K) - THETAE

Absolute Humidity, Top (g/m3) - RHODT

Raw Absolute Humidity, Fast Hygrometer (g/m3) - RHOUV

Corrected Absolute Humidity, Fast Hygrometer (g/m3) - ATC

Relative Humidity, Reference (%) - RHUM

Mixing Ratio, Reference (g/kg) - MR

Mixing Ratio, Fast Hygrometer (g/kg) - MRLA

Mixing Ratio, Laser Hygrometer (g/kg) - MRLH

Radiometric Surface Temperature-1: Ref (C) - RSTB

Radiometric Surface Temperature-2: Raw (C) - RSTB1

Radiometric Sky Temperature (C) - RSTT

Altitude Corrected Surface Temperature (C) - TSURF

Shortwave Irradiance, Top (W/m2) - SWT

Shortwave Irradiance, Bottom (W/m2) - SWB

Infrared Irradiance, Top (W/m2) - IRTC

Infrared Irradiance, Bottom (W/m2) - IRBC

Ultraviolet Irradiance, Top (W/m2) - UVT

Ultraviolet Irradiance, Bottom (W/m2) - UVB

TSI CN Particle Concentration (n/cm3) - CONCN

Sampling Size Range: 0.01 to 3 um

PCASP/200 Aerosol Particle Concentration (n/cm3) - CONCP_RPO

Sampling Size Range: 0.12 to 3.12 um

FSSP/300 Aerosol Particle Concentration (n/cm3) - CONC3_RPI

Sampling Size Range: 0.3 to 20 um

FSSP/100 Cloud Particle Concentration (n/cm3) - CONCF_RWO

Sampling Size Range: 3 to 45 um

260X Cloud Droplet Concentration (n/l) - CONC6_RWI

Sampling Size Range: 50 to 640 um

PCASP/200Mean Particle Diameter (um) - DBARP_RPO

FSSP/300 Mean Particle Diameter (um) - DBAR3_RPI

FSSP/100 Mean Particle Diameter (um) - DBARF_RWO

260X Mean Droplet Diameter (um) - DBAR6_RWI

FSSP/100 Water/Ice Content (g/m3) - PLWCF_RWO

Raw IRS Latitude (deg) - LAT

Raw IRS Longitude (deg) - LON

Aircraft True Heading (deg) - THDG

Aircraft Roll Attitude Angle (deg) - ROLL

Aircraft Pitch Attitude Angle (deg) - PITCH

Aircraft IRS Vertical Velocity (m/s) - VSPD

Damped Aircraft Vertical Velocity (m/s) - WP3

IRS Ground Speed (m/s) - GSF

IRS Ground Speed Vector, East Comp (m/s) - VEW

IRS Ground Speed Vector, North Comp (m/s) - VNS

GPS Ground Speed Vector, East Comp (m/s) - GGVEW

GPS Ground Speed Vector, North Comp (m/s) - GGVNS

GPS Ground Speed (m/s) - GGSPD

Parameter List - 3 (Cont.)

Aircraft True Airspeed, Fuselage (m/s) - TASF

Aircraft True Airspeed, Radome (m/s) - TASR

Aircraft True Airspeed, Humidity Corrected (m/s) - TASHC

Corrected Dynamic Pressure, Left Fuselage (mb) - QCFC

Corrected Dynamic Pressure, Radome (mb) - QCRC

Raw Dynamic Pressure, Left Fuselage (mb) - QCF

Raw Dynamic Pressure, Radome (mb) - QCR

Attack Angle, Radome Diff. Pressure (deg) - AKRD

Sideslip Angle, Radome Diff. Pressure (deg) - SSRD

Vertical Differential Pressure, Radome (mb) - ADIFR

Horizontal Differential Pressure, Radome (mb) - BDIFR

Raw Static Pressure, (digital) Fuselage (mb) - PSFD

Total Temperature, Radome Right (C) - TTRR

Total Temperature: Radome Left (C) - TTRL

Total Temperature: Heated, Wing (C) - TTWH

Raw Dew Point Temperature, Fuselage Top (C) - DPT

Raw Dew Point Temperature, Fuselage Bot (C) - DPB

Raw IR Irradiance, Top (W/m2) - IRT

Raw IR Irradiance, Bot (W/m2) - IRB

Top Pyrgeometer Dome Temp (C) - DTT

Top Pyrgeometer Sink Temp (C) - STT

Bottom Pyrgeometer Dome Temp (C) - DTB

Bottom Pyrgeometer Sink Temp (C) - STB

Raw King Probe Liquid Water Content (watts) - PLWC1

TSI 3760 CN Counter Output (N) - CNTS

TSI 3760 CN Counter Flow: Raw (slpm) - FCN

TSI 3760 CN Counter Sampling Pressure (mb) - PCN

TSI 3760 CN Counter Sampling Temperature (C) - CNTEMP

TSI 3760 CN Counter Corrected Flow (slpm) - FCNC

Specialty Parameters

RAF Fast Humidity Signal (Vdc)- XUVI

RAF Fast Humidity Sample Pressure (hPa) - XUVP

RAF Fast Humidity Sample Temperature (C) - XUVT

RAF Carbon Monoxide Concentration (ppb) - CO_MR

RAF Carbon Dioxide Concentration (ppb) - CO2_MR

RAF Carbon Monoxide Sample Flow (sccm ) - FO3_MR

RAF TECO Ozone Concentration (ppb) - TEO3C

RAF TECO Ozone Sample Pressure (mb) - TEO3P

User Variables

Univ. of Hawaii Heated CN Concentration (n/cm3) - XCNHOT

Univ. of Hawaii Unheated CN Concentration (n/cm3) - XCNCOLD

Univ. of Hawaii Ultra-fine CN Concentration (n/cm3) – XUCN

Univ. of Hawaii Raw Nephelometer Output (Vdc) – XNEPH

Univ. of Hawaii Corrected Nephelometer Output (Mm-1) - XNEPHC