01/11/09

Maintenance day in Anchorage.

Looking at RWO DSM the AC/DC supply is bad.  Replaced with onboard spare. Did not record the serial number of the spar but it was in box 305 so that should be the serial number.

Need another power supply sent up here.

TCAB problem was the cable not hooked up well into the patch panel.  It now reads correctly.

Squirted water in a fine cloud at he CDP and it saw it.  Looks like it is working correctly. I suspect that the problem on RF02 was that we were in a snow cloud and there were no small particles.

Hawaii is Castle and Cooke aviation Phone number is 808-548-2948