APPENDIX B.1

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		____PASE_________		Installation Period:	_6/11/07 – 7/13/07__

Aircraft: 		____C-130________		Beginning Date: 	___8/4/07_________

Instrument Number:	_________________		Ending Date: 		___9/8/07_________

1. 	Instrument: 		Atmospheric Pressure Ionization Mass Spectrometer (APIMS)

2.	Function:	measure trace atmospheric sulfur gases using istopically labeled internal standards

3.	Principal Investigator: Alan R. Bandy____________________________________

Address: 		Dept. Of Chemistry, Drexel University, Philadelphia, PA 19104

Telephone: 		_215-895-2640______________________________________

4. 	Instrument Operator(s): Doanald Thornton, Fang Huang Tu____________________

5.	Is this instrument commercially produced? 	_no________________________________

6.	If so, please list name and address of manufacturer:

________________________________________________________________________

7. 	Please list serial number of the instrument:

___________________________________N/A_________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	Donald Thornton_______________________________________

Organization: 	Drexel University_____________________________________

Address: 		Dept of Chemistry, Philadelphia, PA 19104_____________

Telephone: 		215-895-2657__________________________________________

Built by: 	            Donald Thornton _______________________________________

Organization:        Drexel University____________________________________

Address: 	            ______________________________________________________

###### APPENDIX B.1

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

Atmospheric air is drawn into the aircraft with a pump or a venturi. Isotopically enriched dimethyl sulfide or sulfur dioxide is added to the air and the mass spectrometer samples this mixture continuously.  The Ni-63 used to produce ions in the mass spectrometer is a sealed source.	________________________________________________________________________

10. 	If the instrument is commercially produced, has it been modified? _N/A_____________

11. 	If modified, describe the modification.

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		__X___	Compressed gases		__X___

Other ionizing radiation	______	Non-ionizing radiation	______

Flammable liquids		______	Laser				______

Radar				______	Flammable gases		______

Explosive materials		______	Toxic materials		______

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).

10 mCi of Ni-63 in a Nickel alloy foil; compressed air or nitrogen_________________

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

________________________________________________________________________

________________________________________________________________________

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?

____NO________________________________________________________________

###### APPENDIX B.1

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

________________________________________________________________________________________________________________________________________________________________________________________________________________________

17. 	What kind of container will you need to carry these materials?

________________________________________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

______please attached a separate document covering this question__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

2000 psig of air; 1500 psig of ~100 part per billion sulfur dioxide and dimethyl sulfide in nitrogen_______________________________________________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

________________________NO_____________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

____________NO________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

__very low__________________________________________________________

###### APPENDIX B.1

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

________________________________________________________________________________________________________________________________________________________________________________________________________________________

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

Ni-63 foil will remain in the sealed source____________________________

_10 Sept 2004____		________________________________________________

Date				  Signature of principal investigator or operator

_Donald Thornton_______________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date