APPENDIX B.2

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		____PASE________		Installation Period:	_5/29/07 – 7/13/07_

Aircraft: 		____C-130________		Beginning Date: 	____8/4/07________

Instrument Number:	_________________		Ending Date: 		____9/8/07________

1. 	Instrument: 		____4 – Channel CIMS________

2.	Function: 		____Measures HNO3, H2SO4, OH, RO2, NH3____

3.	Principal Investigator:	____Chris Cantrell & Lee Mauldin______

Address: 		____NCAR – FL0____________________________

Telephone: 		____303-497-1861___________________________

4. 	Instrument Operator(s):  Ed Kosciuch, Chris Cantrell, Lee Mauldin, Rebecca Anderson

5.	Is this instrument commercially produced? 	____NO____________________________

6.	If so, please list name and address of manufacturer:

____________N/A________________________________________________________

7. 	Please list serial number of the instrument:

____________N/A________________________________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	___Fred Eisele_______________________

Organization: 	___NCAR____________________________________________

Address: 		___NCAR – FL0________________________________________

Telephone: 		___303-497-1483_______________________________________

Built by: 	            ___DFS / EOL – Jack Fox Supervisor_______________________

Organization:         ___NCAR_____________________________________________

Address: 	            __NCAR – FL1________________________________________

###### APPENDIX B

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

Mass Spectrometry, hazards associated with vacuum system, employs several manual

and auto cut-off features.  Check valves used for many gases; HNO3 vials held in a

padded/absorbent container.

10. 	If the instrument is commercially produced, has it been modified? 	____N/A__________

11. 	If modified, describe the modification.

____N/A________________________________________________________________

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		__X___	Compressed gases		__X___

Other ionizing radiation	______	Non-ionizing radiation	__X___

Flammable liquids		______	Laser				______

Radar				______	Flammable gases		__X___

Explosive materials		______	Toxic materials		__X___

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).

Radioactive Materials: 241Am (3 units); Toxic Materials: 1 mL HNO3; Non-ionizing

Radiation: 2 mercury lamps; Compressed Gases: O2, N2, Propane, 1.5% NO (N2 balance),

4% SO2 (N2 balance), 0.5% SO2 (N2 balance); Flammable Gas: Propane

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

____None_______________________________________________________________

15.	If your experiment consumes or discharges materials, will you need to carry additional

materials on board?

____NO_________________________________________________________________

###### APPENDIX B

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

____N/A________________________________________________________________________________________________________________________________________________________________________________________________________________

17. 	What kind of container will you need to carry these materials?

___N/A_________________________________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

__________n/a________________________________________________________

- If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

O2: 2500 PSI; N2: 2500 PSI; NO in N2: 1200 PSI; 4% SO2 in N2: 600 PSI;

0.5% SO2 in N2: 1500 PSI, propane: 250 PSI

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

_____NO________________________________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

____NO_________________________________________________________________

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

_________________________Low due to safety measures ______________________

###### APPENDIX B

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

___Chief hazard would be propane leak and potential fire – fire would be severe_____

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

___See attachment for description of containment vessel for propane. Tubing isolated and secured specifically to avoid chafing. System leak check mandatory for any servicing of the system.

_________________		________________________________________________

Date				  Signature of principal investigator or operator

________________________________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date