APPENDIX B.3

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		____ICE-T________		Installation Period:	May 31 – June 4 2011

Aircraft: 		____C-130________		Beginning Date: 	__20 June 2011_____

Instrument Number:	_________________		Ending Date: 		__3 August 2011____

1. 	Instrument: 		__Carbon monoxide___________________________________

2.	Function: 		__co mixing ratios________________

3.	Principal Investigator:	__Teresa Campos_______________________________________

Address: 		__RAF_______________________________________________

Telephone: 		__x005F_x1048_______________________________________________

4. 	Instrument Operator(s): _Teresa Campos, Pavel Romashkin, Cliff Heizer, Verity Stroud, Stephen Shertz, Britton Stephens, and Andy Watt

5.	Is this instrument commercially produced? 	_Yes_____________________________

6.	If so, please list name and address of manufacturer:

__Aero-Laser, Inc. Garmischpartenkirken, DE_

7. 	Please list serial number of the instrument:

_N/A___________________________________________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by:

Organization: 	_______________________________________________

Address: 		_________________________________________________

Telephone: 		________________________________________________

Built by: 	            ____________

Organization:         ________________________________________________

Address: 	            _________________________________________________

###### APPENDIX B.3

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

Quantifies carbon monoxide via vacuum UV fluorescence.

Hazards: 1) Instrument uses 3 compressed gas cylinders, two of which are asphyxiants.

10. 	If the instrument is commercially produced, has it been modified? 	____Yes________

11. 	If modified, describe the modification.

_Pressure and flow controllers have been replaced with our own units._

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		_No_____	Compressed gases		__Yes____

Other ionizing radiation	_No_____	Non-ionizing radiation	__No____

Flammable liquids		_No_____	Laser				__No____

Radar				_No_____	Flammable gases		__No____

Explosive materials		_No_____	Toxic materials		__No____

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).

__We plan to carry 2000 psi of breathable calbration compressed gas (qty 1), and 2000 psi each of UHP nitrogen and a mixture of 0.25% CO2 in argon in cylinders having a 30-L internal volume.

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

_Drierite desiccant traps are also used in this instrument.

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?   No.

###### APPENDIX B.3

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

_None on board aircraft._

17. 	What kind of container will you need to carry these materials?

________________________________________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

______please attached a separate document covering this question__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

__2000 psi______________________________________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

__No___________________________________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

_No.

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

__N/A

###### APPENDIX B.3

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

_

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

_________________		________________________________________________

Date				  Signature of principal investigator or operator

________________________________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date