APPENDIX B.4

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		_____ICE-T_______		Installation Period:	_15 – 31 May 2011__

Aircraft: 		_____C-130_______		Beginning Date: 	_20 June 2011______

Instrument Number:	_________________		Ending Date: 		__3 August 2011____

1. 	Instrument: 		TSI CPC  +PMI/DMT UHSAS_(part of NCAR CVI)_                                                     	Function: 		count particles, size particles ___________________                             3.	Principal Investigator:	Cindy Twohy, NCAR/Oregon State U________________

Address: 		COAS Admin 104, Corvallis OR 97331______             	     		Telephone: 		541-737-5690______________________                                                                                                       4. 	Instrument Operator(s): Cindy Twohy, Errol Korn, Jim Anderson

5.	Is this instrument commercially produced? 	Y        _________________

6.	If so, please list name and address of manufacturer:

TSI: 500 Cardigan Rd, St Paul , MN 55126; DMT: 5710 Flatiron Parkway, Suite B, Boulder, CO 80301

7. 	Please list serial numbers of the instruments:

CPC: ________________________UHSAS: SN 002________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	_______________________

Organization: 	_______________________

Address: 		______________________________________________________

Telephone: 		______________________________________________________

Built by: 	            _________________________________________________

Organization:         ______________________________________________________

Address: 	            ______________________________________________________

###### APPENDIX B.4

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

CPC uses butanol vapor to grow particles, detect them w/ light scattered from laser                                          	UHSAS measures particle size by light scattering from laser____________________

10. 	If the instrument is commercially produced, has it been modified?  Yes_______________

11. 	If modified, describe the modification.

_Internal flowmeter added, but done at DMT____________________

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials				Compressed gases		_Yes_

Other ionizing radiation	______	Non-ionizing radiation	______

Flammable liquids		CPC		Laser				CPC ,UHSAS

Radar				______	Flammable gases		______

Explosive materials		______	Toxic materials		______

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).

Flammable liquid- n-butanol; lasers- Class I laser in CPC and UHSAS, Compressed Gas: UHP N2

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

______________________________________________________________________.

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board? 	On ferry flights, butanol will be carried as part of RAF supply

###### APPENDIX B.4

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

_____________________________________________                                                                                                               ________________________________________________________________________________________________________________________________________________

17. 	What kind of container will you need to carry these materials?

___________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

All lasers are thoroughly contained

______please attached a separate document covering this question__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

___2000 psi before regulator, 20 psi after in supply line to CVI___________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

___No__________________________________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

No___

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

Low probability, CVI used 20 years on aircraft w/o incident.

###### APPENDIX B.4

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

If large amount of butanol was spilled and it caught fire, consequences could be severe.                                                                   _____________________________________________________________________

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

No handling of butanol in flight.  On ground, fill only when power off rack and as recommended by RAF tech__________

_9/26/08_____		______________________________________________

Date				  Signature of principal investigator or operator

_Cindy Twohy __________________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date