APPENDIX B.5

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		____ICE-T________		Installation Period:	__1 – 17 June 2011_

Aircraft: 		____C-130________		Beginning Date: 	__20 June 2011____

Instrument Number:	_________________		Ending Date: 		___3 August 2011__

1. 	Instrument: 		_Wyoming Cloud Lidar (Up and Down)_____________________

2.	Function: 		_Cloud and Aerosol Imaging_____________________________

3.	Principal Investigator:	___Zhien Wang__(also contact J French or P Wechsler)________

Address: 		____Univ. of Wyoming_________________________________

Telephone: 		____307-766-3245_____________________________________

4. 	Instrument Operator(s): ____J French, L Oolman, D Leon________________________

5.	Is this instrument commercially produced? 	____No_____________________________

6.	If so, please list name and address of manufacturer:

_____N/A_______________________________________________________________

7. 	Please list serial number of the instrument:

______N/A_____________________________________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	____Z Wang__________________________________________

Organization: 	____Univ of Wyoming__________________________________

Address: 		____Dept 3038, 1000 E Univ. Ave., Laramie, WY  82071_____

Telephone: 		____307-766-3245______________________________________

Built by: 	            ____Z Wang, P Wechsler________________________________

Organization:         _____Univ of Wyoming_________________________________

Address: 	            ______Same__________________________________________

###### APPENDIX B.5

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

__Both lidars emit pencil beam of UV light from the instrument directed out of the aircraft; light back-scattered due to molecular scattering and elastic (precip and aerosol) scattering is collected at the lidar ____________________________________________

______No hazards to operators during normal in-flight operations_________________

_______Laser has a Kill switch to discontinue laser transmission______________

10. 	If the instrument is commercially produced, has it been modified? 	______N/A_______

11. 	If modified, describe the modification.

________N/A___________________________________________________________

________________________________________________________________________

________________________________________________________________________

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		______	Compressed gases		______

Other ionizing radiation	______	Non-ionizing radiation	______

Flammable liquids		______	Laser				___X__

Radar				______	Flammable gases		______

Explosive materials		______	Toxic materials		______

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).

_____See Attached Documents_________________________________________

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

_____None_____________________________________________________________

________________________________________________________________________

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?

________________________N/A___________________________________________

###### APPENDIX B.5

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

________N/A___________________________________________________________________________________________________________________________________________________________________________________________________________

17. 	What kind of container will you need to carry these materials?

_______N/A____________________________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

______SEE ATTACHED__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

_______N/A_____________________________________________________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

_______N/A____________________________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

________________________________________________________________________________N/A____________________________________________________________________________________________________________________________________

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

__________________Very Low _____________________________________ ________________________________________________________________

###### APPENDIX B.5

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

______Blindness could result from upward pointing lidar—on ground upward lidar should only be operated as per SOP when a spotter is present and operator is assured no persons will be on top of aircaft_______________________________ ________________________________________________________________________

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

______SEE ATTACHED_________________________________________________ _______________________________________________________________________________________________________________________________________________

__8-June 2011_____		________________________________________________

Date				  Signature of principal investigator or operator

___Jeffrey R French______________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date