APPENDIX B.8

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		___ICE-T____		Installation Period:	______________

Aircraft: 		___C-130____		Beginning Date: 	_20 June 2011__

Instrument Number:	_________________		Ending Date: 		_3 August 2011_

1. 	Instrument: 		CU Picarro Water Isotopes_

2.         Function: 		Measures deuterium and oxygen 18 content in water vapor                             3.	Principal Investigator:	Darin Toohey, CU Boulder____________

Address: 		Stadium 255, ATOC 311 UCB, Boulder, CO, 80309

Telephone: 		303-735-0002 (office)  303-598-3313 (mobile)__                                                                                                       4.         Instrument Operator(s): Cynthia Twohy, Darin Toohey

5.	Is this instrument commercially produced? 	Yes

6.	If so, please list name and address of manufacturer:

Picarro water isotopes: Picarro Inc., 480 Oakmead Parkway, Sunnyvale, CA 94085

7. 	Please list serial numbers of the instruments:

_661-HBDS2144_______

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	_______________________

Organization: 	_______________________

Address: 		______________________________________________________

Telephone: 		______________________________________________________

Built by: 	            _________________________________________________

Organization:         ______________________________________________________

Address: 	            ______________________________________________________

###### APPENDIX B.8

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

The Picarro L1115-I uses time-based, optical absorption spectroscopy of the target gases

to determine their concentrations. The principle of operation is wavelength-scanned cavity ring down spectroscopy (WS-CRDS), a technology in which light re-circulates many times through

the sample, creating a very long effective path length for the light to interact with the

sample.

10. 	If the instrument is commercially produced, has it been modified?  No

11. 	If modified, describe the modification.

_________________

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials				Compressed gases		______

Other ionizing radiation	______	Non-ionizing radiation	______

Flammable liquids				Laser				Yes___

Radar				______	Flammable gases		______

Explosive materials		______	Toxic materials		______

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.)

Class 3B invisible laser radiation, maximum of 50mW of CW light in the near-infrared

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

______________________________________________________________________.

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?

###### APPENDIX B.8

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	What and how much extra materials will you need to carry? _______________

17. 	What kind of container will you need to carry these materials? ______________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	III   (fully enclosed, not user serviceable)

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

All lasers are thoroughly enclosed

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type? ___________________

- Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?___No__

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

No

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

Low probability

###### APPENDIX B.8

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

If a laser were to fail, the instrument would stop acquiring data, and it would need to be removed from the aircraft and returned to the factory for replacement.

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

None required. Instrument is fully autonomous and there are no user serviceable parts.

_June 17, 2011_____		__________________

Date				  Signature of principal investigator or operator

Darin Toohey____

Printed name of principal investigator or operator

Reviewed by

________________________________________________

Date