APPENDIX B.8

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 		___NOMADSS___		Installation Period:      8 Apr – 22 May 2013

Aircraft: 		____C-130_______		Beginning Date: 	__1 Jun 2013______

Instrument Number:	_________________		Ending Date: 		__15 Jul 2013_____

1. 	Instrument: 		_TOGA____________________________________

2.	Function: 		_trace organic chemical measurements_________________

3.	Principal Investigator:	_Eric Apel________________________________________

Address: 		_1080 Stonehaven Ave., Broomfield, CO_______________________________________________

Telephone: 		_________________________________________________

4. 	Instrument Operator(s):  A. Hills, R. Hornbrook, D. Riemer, E. Apel

5.	Is this instrument commercially produced? 	__No____________________________

6.	If so, please list name and address of manufacturer:

7. 	Please list serial number of the instrument:

______N/A_____________________________________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by:

Organization: 	__NCAR-ACD____________________________________

Address: 		3450 Mitchell Lane, Boulder, CO_____________________

Telephone: 		___303-497-1452__________________________________

Built by: 	            __NCAR-ACD__________

Address: 	            __3450 Mitchell Lane, Boulder, CO___________________

###### APPENDIX B.8

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

_________See attached Documents_______________________________________

10. 	If the instrument is commercially produced, has it been modified? 	__N/A_________

11. 	If modified, describe the modification.

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		______	Compressed gases		_X_____

Other ionizing radiation	______	Non-ionizing radiation	______

Flammable liquids		______	Laser				______

Radar				______	Flammable gases		______

Explosive materials		______	Toxic materials		______

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.). ____He, gas, Nitrogen, Gas and liquid__________

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

___Trace amounts (similar to ambient air levels) of volatile organic compounds______

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?    ______Yes ______

16. 	 What and how much extra materials will you need to carry?

_______tanks of He (x2)______________________________________________

17. 	What kind of container will you need to carry these materials?

_______Al cylinders Al150___________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

###### APPENDIX B.8

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

______please attached a separate document covering this question__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

___2000 psig_____________________________________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

________No_____________________________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

_______ No___________________________________________________________

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

_______Very low_______________________________________________________

24.	How would you describe the severity of such an accident?

____________minor_________________________________________________

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

___Adhere to all safety precautions listed in attached document__4-10-2012____

###### APPENDIX B.8

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

Date:_____________________

Signature of principal investigator or operator

_____________________________________________

Printed name of principal investigator or operator

_____Eric C. Apel______________________________________

Reviewed by

________________________________________________

Date