APPENDIX B.2

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: SAANGRIA-TEST				Installation Period:	7 Jan – 6 Feb 2013

Aircraft: GV						Beginning Date:  11 Feb 2013

Instrument Number:	_________________		Ending Date:  28 Feb 2013

1. 	Instrument: 		__HIAPER Cloud Radar (HCR)________ _____                         __

2.	Function: 		__Dual Polarization Millimeter Wave Cloud Radar_____________

3.	Principal Investigator:	__Jothiram Vivekanandan                               _________________

Address: 		__NCAR/EOL _________________________________________

Telephone: 		__x8402_____________________________________________

4. 	Instrument Operator(s): __Jonathan Emmett, Peisang Tsai, Eric Loew, Chris Burghart__

5.	Is this instrument commercially produced? 	___No._____________________________

6.	If so, please list name and address of manufacturer:

________________________________________________________________________

7. 	Please list serial number of the instrument:

________________________________________________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	______________________________________________________

Organization: 	____NCAR/EOL                          ___________________________

Address: 		____3450 Mitchell Lane, Boulder, CO  80301        _____________

Telephone: 		____x2068  ____________________________________________

Built by: 	            ______________________________________________________

Organization:         ____ NCAR/EOL                           __________________________

Address: 	            ____3450 Mitchell Lane, Boulder, CO  80301        _____________

###### APPENDIX B.2

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

__The HCR is a pod based radar which operates at 94.46 GHz. Redundant pressure sensors monitor waveguide pressure; temperature is also monitored in various locations. The transmitter has automatic fault shutdown; faults include waveguide arc and overtemp. There is also a manual transmit disable switch in the cabin.

10. 	If the instrument is commercially produced, has it been modified? 	__________________

11. 	If modified, describe the modification.

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		______	Compressed gases		______

Other ionizing radiation	______	Non-ionizing radiation	___X__

Flammable liquids		______	Laser				______

Radar				__X  __	Flammable gases		______

Explosive materials		______	Toxic materials		______

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).

__The radar produces non-ionizing radiation at 94.46 GHz . The safety distance is 10 m for exposure of 10 mW/cm^2 (IEEE radiation standard). This is standing directly in the main beam.              __________________

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

__None._________________________________________________________________

________________________________________________________________________

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?

__No.___________________________________________________________________

###### APPENDIX B.2

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

__None._________________________________________________________________________________________________________________________________________________________________________________________________________________

17. 	What kind of container will you need to carry these materials?

________________________________________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

______please attached a separate document covering this question__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

________________________________________________________________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

________________________________________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

__No.___________________________________________________________________ _______      ______________________________________________________________

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

___Extremely low.                                                                                                             __

###### APPENDIX B.2

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

__Fire would be the most likely accident.  Since all high voltage electronic components are sealed in an aluminum pressure vessel with limited air volume, any fire would extinguish quickly._           ______________________________________________

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

__As stated in question 9, the operator has access to pressure and temperature status within the pod and can manually disable the transmitter. The transmitter also shuts down automatically on a variety of faults.______________________________

_________________		________________________________________________

Date				  Signature of principal investigator or operator

________________________________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date