APPENDIX B.4

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 1 of 4)

DO NOT WRITE IN THIS BLOCK

Project: 	SAANGRIA-TEST			Installation Period:	 7 Jan – 6 Feb 2013

Aircraft: 	GV					Beginning Date: 	11 Feb 2013

Instrument Number:	N/A				Ending Date: 		28 Feb 2013

1. 	Instrument: 		__SAANGRIA Lidars____________________________________

2.	Function: 		_ Measure stratosphere/mesosphere density, temperature, etc_____

3.	Principal Investigator:	_Dave Fritts; Bifford Williams_____________________________

Address: 		_GATS, Inc., 3360 Mitchell Ln, Boulder, CO 80301____________

Telephone: 		_720-274-4744_________________________________________

4. 	Instrument Operator(s):_Bifford Williams______________________________________

5.	Is this instrument commercially produced? 	___No______________________________

6.	If so, please list name and address of manufacturer:

________________________________________________________________________

7. 	Please list serial number of the instrument:

________________________________________________________________________

Please attach a copy of the manufacturer’s instruction manual for the device.  If this is not possible, attach a copy of those pages of the instruction manual which describe the principles of operation, hazard warnings, safety features, and safety rules.

8. 	If the instrument is not commercially produced, please provide information requested below:

Designed by: 	_Bifford Williams_______________________________

Organization: 	_GATS, Inc___________________________________________

Address:		_3360 Mitchell Ln, Boulder, CO 80301_____________

Telephone: 		_720-274-4744________________________________________

Built by: 	            _Bifford Williams_______________________________________

Organization:         _GATS, Inc.__________________________________________

Address: 	            _3360 Mitchell Ln, Boulder, CO 80301 _____________________

###### APPENDIX B.4

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 2 of 4)

9.	Describe principles of operation, hazard warnings, safety features:

Both lasers turn off automatically if system temperature, voltage or current depart from

normal operating range.

10. 	If the instrument is commercially produced, has it been modified? 	__________________

11. 	If modified, describe the modification.

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

All investigators please answer the following:

12. 	Does the instrument contain, use, or produce:

Radioactive materials		_No__		Compressed gases		_No___

Other ionizing radiation	_No___	Non-ionizing radiation	_No___

Flammable liquids		_No___	Laser				_Yes__

Radar				_No___	Flammable gases		_No___

Explosive materials		_No___	Toxic materials		_No___

13. 	If any of the categories were checked, specify the material below (for example, amount, energy levels, physical form, etc.).

__7W 589nm beam; 100mW 589nm beam; 5W 351nm beam_____________________

14. 	Please list all other chemicals you will use on board this aircraft in your experiment.

__sodium vapor cell (<1 milligram Na)______________________________________

__propylene glycol coolant, ~ 1 gallon_______________________________________

15.	If your experiment consumes or discharges materials, will you need to carry additional materials on board?

________________________________________________________________________

###### APPENDIX B.4

# RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 3 of 4)

16. 	 What and how much extra materials will you need to carry?

________________________________________________________________________

17. 	What kind of container will you need to carry these materials?

________________________________________________________________________

18. 	If the device utilizes a laser, please classify the laser according to ANSI Z 136.1-1973 (circle one).

Class:	I     II     III     IV

- If your laser will be operating at a wavelength that is not eye safe,  what procedures will

be established to minimize the danger to yourself and other project participants?

______please attached a separate document covering this question__________________

20.	If you are using compressed gas cylinders, what is the maximum pressure expected for each cylinder type?

________________________________________________________________________

21.	Will you be re-filling any compressed gas cylinders yourself, either at JeffCO or during the field deployment?

________________________________________________________________________

22. 	Are there any other hazards associated with the instrument itself, the required ground support equipment or the experiment which have not so far been covered in this questionnaire?

________________________________________________________________________________________________________________________________________________

23. 	How would you describe the probability of an accident resulting from the presence and use of your instrument on board the NCAR aircraft?

Very low.  I have never had an accident in 15 years running ground-based lidars and

these diode pumped airborne lasers are much safer than the old flashlamp pumped,

dye/methanol amplifier lasers.

###### APPENDIX B.4

RAF PROJECT SAFETY COMMITTEE

HAZARDOUS MATERIALS AND DEVICES

(Page 4 of 4)

24.	How would you describe the severity of such an accident?

___eye damage, Na laser can burn a spot in the retina_______________________

25. 	What precautions will you take to decrease the probability and the severity of an accident?  If any documented safety procedures from your home facility or university are available, please attach a copy of said materials to this form.

___Beam covers, laser safety goggles or access restrictions when laser is running with covers off for alignment.  See attachment on Safe Operating Procedures_________

_________________		________________________________________________

Date				  Signature of principal investigator or operator

________________________________________________

Printed name of principal investigator or operator

________________________________________________

Reviewed by

________________________________________________

Date

Laser Safety Procedures

SAANGRIA Lidars

Bifford Williams

GATS, Inc

- In flight, lasers will be operated with metal beam safety covers in place.

- Rules in FAA letter will be followed with regard to overflying aircraft.

- Key switches to turn off both lasers are located on the laser controllers on the aft face of the L2 rack, which are directly accessible by the operator for his chair.

- When covers are removed for alignment prior to flight, laser safety glasses will be provided to other people in the cabin or cabin access will be limited to the laser operator.  Two pairs of laser safety glasses for UV and two pairs for the UV and 589nm combination are available.  Alignment will be done at low power (<100 mW).

- The visible beam is not eyesafe for direct eye exposure at alignment power levels, but safety is much improved for most refections and secondary effects.  Visible beam alignment cannot be done wearing laser safety glasses, however, so only expert personnel (Bifford Williams) will perform this task.

- At full power (5W), UV beam is eye safe for a 0.25 second exposure, so it is safe for overflying aircraft and people walking by or glancing at the laser.  At alignment power, 20-100 mW, UV beam is eyesafe for 10 second exposure.  Standard eyeglass UV coatings take out UV at 351 nm.