## Sheet1
PROJECT | SENSOR | RECOMMENDED | PRODUCTION | SPREADSHEET | COMMENTS
TREX | TTHR1 HARCO? | -82.87 22.838 0.27555 | not in data files | -88.573 25.264 0.022914 | unclear TTHR1 or TTLH1; prod has only TTRL
| TTHR2 HARCO? | -82.76 23.042 0.23379 | not in data files | -90.673 26.304 -0.095824 | unclear TTHR2 or TTLH2; “
| TTHR3? |  |  |  | cals do not have resistances; can't correct
| TTRL Rmt E102AL | -74.10 18.788 0.73944 | -83.8414f, 23.2536f, 0.232697f | same as production | rare case: cal matches data-file-cal
| TTHR1 HARCO 630393 | -83.07 23.061 0.24086 | not in data files | -88.443 25.258 0.02528
| TTHR3 HARCO | -81.96 22.560 0.32261 | “ | -88.458 25.362 0.034452 | what is element 3?
| TTRL Rmt E102AL | -83.23 23.268 0.19109 | -83.8414f, 23.2536f, 0.232697f | -93.797 28.113 -0.35855 | not clear what to do here; big difference Pre-Post
all cals only to about -40C; extrapolation below that
ProgSci |  | (don't reprocess) |  |  | only TT-A in data file
START08 | TTFR RMT unh | -82.03 22.455 0.30233 | -80.2f, 22.272f, 0.1383f | -86.512803 24.460659 0.074010
| TTHR1 HARCO 630393 | -83.45 22.371 0.35279 | -82.755f, 23.572f, 0.00913f | -91.328 26.004 -0.04038 | ? why the big difference, spreadsheet vs production?
| TTHR2 HARCO | -82.34 21.888 0.43553 | -83.22f, 23.836f, 0.0093f | -91.811 26.262 -0.051948 | ? and where do production values come from?
| TTFR RMT unh | -82.25 22.401 0.30414 | see above | -86.753 24.409 0.076419
| TTHR1 HARCO 630393 | -83.30 22.265 0.35642 | see above | -91.497 25.984 -0.040675
| TTHR2 HARCO | -82.51 21.868 0.43335 | see above | -92.013 26.246 -0.053205
| TTHR1 HARCO 630393 | -81.07 21.635 0.39894 | “ | -88.63 25.121 0.022505 | outlier? Why so different from others
| TTHR2 HARCO | -80.26 21.316 0.45600 | “ | -89.37 25.518 -0.011398
| TTFR RMT unh | -81.13 21.941 0.36385 | “ | -85.584 23.929 0.13801
| TTHR1 HARCO 630393 | -83.51 22.359 0.35402 | “ | -91.404 25.995 -0.03913
| TTFR RMT unh | -81.34 21.884 0.36157 | “ | -85.809 23.872 0.13685 | Post-p
| TTHR1 HARCO 630393 | -82.55 22.361 0.30056 | “ | -90.177 25.87 -0.077614 | pink values at left have a problem; do not use
| TTHR2 HARCO | -82.23 22.316 0.31384 | “ | -91.471 26.569 -0.15812
cal range is -40 to 40, all Tts; extrapolation required T(V)
PACDEX | TTFR RMT unh | -82.06 22.467 0.30710 | -86.08f, 23.909f, 0.14844f | -85.408 23.998 0.13923 | ? where do production values come from? These spreadsheet values match the proj. Man. Report, but not the production data files
| TTHR1 HARCO 630393 | -82.70 22.834 0.26298 | -88.838f, 25.305f, 0.0098f | -88.778 25.377 0.003196 | spreadsheet close to data-file values, but different
| TTHR2 HARCO | -82.02 22.599 0.29359 | -89.336f, 25.588f, 0.01f | -89.26 25.706 -0.024367 | “ proj manager report lists spreadsheet values; Version 4 has prod values; ordered-from-codiak has
| TTFR RMT unh | -82.13 22.473 0.30571 | see above | -85.483290 24.005298 0.137794 | (my fit to orig; chk spreadsheet)
| TTHR1 HARCO 630393 | -82.61 22.775 0.26736 | “ | -88.673 25.313 0.008272
| TTHR2 HARCO | -81.97 22.489 0.30765 | “ | -89.21 25.59 -0.0089647
again, limited range of R used corresp to -40 to +40
ADELE |  | (not worth reprocessing) |  |  | skip ADELE for now – not important? (hard to reformat)
HEFT08 | TTHL1 RMT 3245 | -82.12 22.361 0.31353 | not in data files | -86.621 24.37 0.085452
| TTHR2 HARCO 630393 | -81.95 22.443 0.30378 | -83.22f, 23.836f, 0.0093f | -91.906 26.249 -0.052184 | ? L1 but R2?
| TTHR1 HARCO 630393 | -82.06 22.375 0.30686 | -82.755f, 23.572f, 0.00913f | -91.332 25.938 -0.032059 | where do data-file coefs come from
| TTHL2 |  | -86.08f, 23.909f, 0.14844f |  | data files include ..C corrected temperatures. Strange that this matches PACDEX TTFR, an unheated probe, in production values
| TTFR |  | -80.2f, 22.272f, 0.1383f
again, limited range of R used corresp to -40 to +40
HEFT10 |  | (same as PREDICT) |  |  | only TT-A in data file
PREDICT | TTHL1 | -84.03 25.584 -0.30683 | no TTHL in data files | -96.758 29.097 -0.44513
| “ | -84.03 25.563 -0.30381 | “ | -96.759 29.073 -0.44167 | spreadsheet table duplicates {T,R}, slight change in V
| TTHL2 | -84.16 25.604 -0.30851 | “ | -96.433 28.99 -0.44505 | -70 to +10; next is -35 to +30
| “ | -82.19 22.570 0.30602 | “ | -101.977818 30.361640 -0.448664 | strange; same date as above, but very different; diff bath used
| TTHL1 |  | “ |  | voltages don't make sense; needs checking
| TTHR1 HARCO 630393 | -81.90 22.444 0.33137 | -89.2f, 25.923f, -0.07941f | -89.225 25.933 -0.078795 | my fit differs slightly from spreadsheet fit – match prod
| “ | -95.54 31.196 -0.93523 | “ | -91.976 26.657 -0.10618 | Limited-T-range cal; don't use (-35 to +30)
| TTHR2 HARCO |  | -89.31f, 26.128f, -0.09022f | -92.389 26.992 -0.12952 | something is wrong here; check this? Not worth it; limited-T-range cal, next one spans larger T range
| “ | -81.95 22.628 0.30762 | “ | -89.33 26.145 -0.091632 | -70 to +10; use this one
for PREDICT have either -70 to +10 or -35 to +30; neither adequate
HIPPO1 | TTHL1 3245 | -82.34 22.527 0.29291 | not in data files | -86.662 24.445 0.076158 | my fit to orig is slightly different
| TTHR1 HARCO 630393 | -82.19 22.492 0.29363 | -97.4813f, 32.0985f, -1.74069f,0.150691f | -89.919 26.003 -0.087121 | why does .nc cal have 4 coefs?
| TTHR2 HARCO | -81.76 22.392 0.31234 | -98.2008f, 32.3863f, -1.78278f,0.153851f | -91.078 26.638 -0.1617 | “
| TTHL1 3245 TTFR RMT 3245 | -82.25 22.422 0.30225 | -105.663f, 39.5308f, -3.82845f, 0.33116f | -86.749 24.431 0.074388 | “
| TTHR1 HARCO 630393 | -82.31 22.416 0.29929 | see above | -90.065 25.927 -0.080279
| TTHR2 HARCO | -85.23 24.871 -0.14004 | see above | -91.225 26.577 -0.15634 | bad point in this cal; do not use
again, limited range of R used corresp to -40 to +40
HIPPO2 | TTHL2 | -82.11 22.605 0.30345 | only TT-A in data files | -91.032 25.67 0.06562
| TTHL1 | -82.17 22.672 0.29553 | “ | -90.77 25.626 0.070761 | my fit to orig is slightly different
| TTHR2 HARCO | -81.78 22.535 0.30107 | “ | -91.471 26.202 -24206
| TTHR1 HARCO 630393 | -80.65 22.284 0.30512 | “ | -89.121 25.616 -0.0034638 | an apparently bad point; do not use
| TTHR2 HARCO | -81.76 22.962 0.20734 | “ | -91.471 26.202 -0.024206 | my fit to orig is slightly different
| TTHL1 708094 | -82.23 22.703 0.30130 | “ | -90.884 25.721 0.06533
| TTHL2 708094 | -82.10 22.633 0.30389 | “ | -91.023 25.7 0.065557
| TTHR1 HARCO 630393 | -82.19 22.676 0.31671 | “ | -90.889 26.116 -0.0039816
| TTHR2 HARCO | -82.52 22.921 0.28791 | “ | -92.298 26.649 -0.045388 | HIPPO2: limited range of R used corresp to -40 to +40
HIPPO3 | TTHL1 708094 | -82.16 22.674 0.30466 | “ | -90.802 25.69 0.068852
| TTHL2 708094 | -81.48 22.265 0.36246 | “ | -90.6691 25.554 0.08566 | my fit to orig is slightly different, 1st coef only
| TTHR1 HARCO 630393 | -81.81 22.332 0.37000 | “ | -91.049 26.152 -0.0073493
| TTHR2 HARCO | -81.97 22.684 0.31010 | “ | -91.701 26.385 -0.020225
| TTHL1 708094 | -82.13 22.657 0.30513 | “ | -90.772 25.67 0.069654
| TTHL2 708094 | -81.76 22.405 0.34182 | “ | -90.097 25.705 0.063667
| TTHR1 HARCO 630393 | -82.17 22.638 0.31917 | “ | -90.874 26.076 -0.00095893
| TTHR2 HARCO | -81.93 22.667 0.30983 | “ | -91.647 26.364 -0.020022
TORERO | TTHR1 HARCO | -79.51 21.196 0.26046 | -79.383f, 21.175f, 0.2708f | -83.659 23.255 0.013928
| TTHR2 HARCO | -78.49 21.015 0.26504 | -78.632f, 21.153f, 0.2543f | -81.577 22.325 0.1375
| TTRL 2984 | -81.70 21.022 0.26231 | -81.717f, 21.041f, 0.259f | -81.717 21.041 0.259 | using CVD fit for this case. Insig. Chg from cal in data files
| TTHR1 708094 |  | see above | -79.383 21.175 0.27078 | check this; some problem with resistances, far from expected
| TTHR1 708094 |  |  | -79.49 21.243 0.26071 | also bad; check this
| TTHR1 708094 |  | “ | -83.661 23.249 0.015788
| TTHR2 708094 |  | “ | -78.632 21.153 0.25431 | some problem, needs checking
| TTHR2 708094 |  | “ | -78.554 21.118 0.25603 | check this; some problem with resistances, far from expected
| TTHR2 708094 | -78.44 21.031 0.26031 | “ | -81.529 22.341 0.13278
| TTRL |  | “ | -81.781 21.082 0.25148 | problem, needs checking, gives unreasonable fit
numerous unresolved problems with TORERO file, but reprocessing does not appear needed.
ICEBRIDGE |  |  |  |  | for now, skip: unimportant, and hard to reformat
for HIPPO4,5 prod only has AT_A
HIPPO4 | TTHL1 A50738 | -83.734 22.175 0.28489 | 96.23, 28.509, -0.31634 | -104.9 30.163 -0.44931 | TTFH1 is early HIPPO-4 processing?
|  | -85.734 25.126 -0.28625 | “ | -98.961 28.66 -0.4195 | “ -- this cal has -70 to +10 range, but poss bad -70 pt?
| TTHL2 A50738 | -79.965 21.568 0.25896 | -95.78 28.02 -0.29366 | -99.181 28.91 -0.42372 | because of poss bad cal pt, omit from reprocessing
|  | -81.451 24.176 -0.26857 | “ | -93.569 27.441 -0.39165 | -70 to +10
| TTHR1 708094 | -75.948 20.355 0.33556 | -90.43 26.539 -0.17361 | -82.169 21.972 0.27685 | looks like ISF cal 7/20/2011
| TTHR2 708094 | -76.781 20.490 0.34571 | -90.304 26.632 -0.17199 | -83.185 22.113 0.28601
HIPPO5 | TTHR1 630393 | -84.067 24.335 -0.07177 | -89.056 25.543 -0.0346 | -90.43 26.539 -0.17361 | spreadsheet matches cal used in HIPPO4, not 5
| TTHR2 630393 | -83.950 24.362 -0.06952 | -89.148 25.709 -0.0513 | -90.304 26.632 -0.17199 | “ -- end of pre-cals
| TTFH1 A50738 | -87.788 26.510 -0.31981 | -90.802 25.69 0.06885 | -101.3 30.254 -0.46799 | worrisome lowest-T point. Use but check
| TTFH2 A50738 | -84.308 23.102 0.30528 | -90.691 25.554 0.08566 | -105.05 31.313 -0.48734 | small T range cal
| “ | -86.455 26.284 -0.33895 | “ | -99.251 29.869 -0.48486 | outlier point; not sure which of these to use...
| TTHR1 630393 | -87.290 24.977 -0.01467 | see above | -93.881 27.222 -0.11129 | small T range cal
| “ | -82.990 22.512 0.39721 | see above | -91.125 26.524 -0.08806
| TTHR2 630393 | -88.208 25.334 -0.03746 | see above | -94.88 27.679 -0.13747 | small T range cal
| “ | -83.566 22.704 0.39350 | see above | -91.787 26.82 -0.09675
| TTFH1 A50738 | -85.631 23.325 0.31607 | see above | -107.47 31.871 -0.49869 | small T range cal