RF05

TECH: KAZ
11/09

Flight to Christchurch

Takeoff 10:08

Monitor booted ok worked on the gnd

Lost all display at rotation, all came back except ADS

Disconnecting mouse etc had no effect,

Dell error code EB113

Cycled dewpoint units