START08

RF05

TECH: Munnerlyn

April 30, 2008

1555Z		Wheels up

Note: LWO DSM intermittent PPS for entire flight

1809Z		Left Dew Pointer blinking “service mirror”

1819Z	Cycle power on Left Dew pointer. Both Dew pointers show rebalance light

1840Z		In clouds, 2DC shows response

1845Z	Right Dew Pointer still has rebalance light, since actual DP in very low will take no action