RF07

TECH: K.A.Zrubek

22-Jan-09

Arrive 08:00 Local New Zealand

TO 10:08 Local

Land 18:45 Local

- No images being recorded, via script on the ADS computer.  Rebooted the camera DSM twice and readjusted cabling to no avail.  Chatted with software boy, tried to log in but we lost INMARSAT and could not complete the troubleshooting.  Never recorded any images on the flight

- Lost INMARSAT at 15:36 (22:36) ~-48.2 Deg South Lat.

- MTP looked good, VNC to monitor

- 00:08 LW DSM reporting NO PPS, then cleared.  Saw this several time but every time it cleared

- Reach -67 deg south at 15:21

- INMARSAT returned at ~ -48.2 Deg south

- No other issues