RF07

TECH:  G.B.

11/14/09

Takeoff 21:11

Probably some icing from 21:28 – 21:36 on ADIFR, BDIFR, QCR

21:34 – 21:36 a level shift in PLWC

02:14 Cycled Dewpoints – Both

02:26 Dewpoints maybe working

03:00 Dewpoints cycled again

03:39 Dewpoints cycled again

Landing 05:02