RF08

TECH:  G.B.

5/06/08

Takeoff: 14:56

16:01 – VCSEL seems to have quit.

16:07 - Cycled power to Left Dewpoint – Service mirror and rebalance light on -  no signal

16:08 - Cycled power to Right Dewpoint – Service mirror and rebalance light on -  no signal

16:09 - Cycled power to Left Dewpoint – Service mirror and rebalance light on -  no signal - again

16:10 - Cycled power to Right Dewpoint – Service mirror and rebalance light on -  no signal - again

16:12 - Cycled power to Right Dewpoint – Service mirror and rebalance light on -  no signal – again

16:17 – VCSEL again seems to be working.

16:20 - Both Dewpoints seem to be working now.

16:50 - VCSEL seems to have quit again.

16:53 – Reboot Left wing DSM to get analog card connection.

16:54 – Left wing DSM back on.

16:57 - VCSEL again seems to be working.

18:19 – Cycled power on both Dewpoints again. – same problem

Landing 21:35 ?

Notes on PLWC

15:57 – PLWC comes alive in clouds

16:09 – Clouds again

16:20 – PLWC quit – lost connection to analog board.

16:25 – Cycled power on anti-ice – not success

16:54 – PLWC back on with cycling of Left wing DSM

18:28 – PLWC went to zero output again.

- TDL DSM or 312 quit when the Wing DSM’s were started.

- CDP & 2DC worked well when in cloud.

- Left wing DSM  sometimes has NOPPS, NO CODE, and NO SYNC

- The dewpoint and rebalance light remained on Left Dewpoint from 17:20 to end of flight.