RF09

TECH: Ta

Take off: 6:02 GMT

Chat and phone system was not reliable for RF09.Total drop-out for chat was: 7 times for entire flight.

Due to this problem Pilots have a hard time to report flight pattern back to OPS center. Every hour.

All RAF instruments work well , except 260X Laser beam was weak. Will recheck at the next maintenance day.

Landed : 14:50 GMT