RF10

TECH:  DEA

Date:  5/12/2008

Takeoff:  1002

Landed:  1804

1034 – Dew Pointers cycled because Jeff Stith was looking at them on the ground and got on chat and asked that I cycle them.

1602 – DSM 312 dropped out.  Power cycled and the DSM came back online at or around 1610.  Equipment effected: TDL, NO, NOY, CO.  No idea what caused the drop out.