RF11

TECH:  G.B.

11/22/09

Takeoff 18:39

Ice on QCR right after take off

19:21 Lost light on DPR

20:42 No Data from QCR

21:04 QCR reporting again, but not accurate

22:57 SATCOM drop out

Landing 23:25