RF16

TECH:  G.B.

6/24/08

Flight took off from Grand Forks, ND.

Timeserver was very slow to acquire stratum 1.  Cycled power a couple of times and it still took 20 – 30 minutes

Power was dumped twice during preflight.  1st time was due to T/R fault on the aircraft due to variations in the frequency of the power cart and then the incidental pulling of a breaker to fix that problem.  2nmd was a break power transfer when the APU was not selected following the problem with the power cart.  Users had a few problems, but the data system seemed fine.

Takeoff:  16:43

17:00 – 17:01 – Data from PLWC does not seem quite right, but it functioned later in flight.  Just didn’t seem to have enough response a couple of times.  Also at 19:22.

18:22 – 18:24 – recycled power on Left dewpoint.  Had service mirror light after a long descent.  Right one was fine.

19:01 – LWDSM was still connected, but lost data from the analog card.  Cycled power on the DSM and restored the connection.  Lost data from 18:40 – 19:01

19:41 – Lost MPDS light and connection on SATCOM at 60 degrees North

21:08 - SATCOM is restored at 55.5 degrees North.  We cycled power to the SATCOM unit, but do not know if this was necessary.

22:27 – Again lost connection to analog board on LWDSM.  Accidentally turn off DSM312.

22:29 – LWDSM back up, but the time on 312 is messed up so recycled power to it again.

22:31 – DSM 312 is back up

Landing:  00:07

Most things worked well on the flight.  Don’t know why the analog card quit.